## Sheet1
SAMPEX / LICA solid state detector energy calibration -- ref date: 4/21/1993
TOF calibration: polynomial fit to calibration ref date: Bench calibration 10/14/91 -- "anode.prn fit 10/20/91"
Measured energy (MeV) | D1 channel number | Measured energy (MeV) | D2 channel number | Measured energy (MeV) | D3 channel number | Measured energy (MeV) | D4 channel number | Coefficient T0: | -2.5266 | t0_
[8 empty] | Coefficient T1: | 0.0698 | t1_
0.68 | 44.56 | 0.71 | 44.58 | 0.73 | 47 | 0.68 | 44.59 | Coefficient T2: | 4.1405e-05 | t2_
0.88 | 48.46 | 0.91 | 48.13 | 0.92 | 50.05 | 0.88 | 48.59 | Coefficient T3: | -5.8855e-08 | t3_
1 | 49.71 | 1 | 49.16 | 1.17 | 55.82 | 0.96 | 49.74 | Coefficient T4: | 4.9732e-11 | t4_
1.11 | 54.36 | 1.09 | 54.24 | 1.29 | 65.36 | 1 | 54.67 | Coefficient T5: | -2.6631e-14 | t5_
1.16 | 61.15 | 1.144 | 60.51 | 1.59 | 76.45 | 1.15 | 64.57 | Coefficient T6: | 9.2296e-18 | t6_
1.24 | 63.82 | 1.21 | 64.04 | 1.95 | 88.2 | 1.82 | 84.69 | Coefficient T7: | -2.0199e-21 | t7_
1.74 | 80.86 | 1.74 | 81.66 | 3.06 | 115.98 | 3.12 | 117.63 | Coefficient T8: | 2.5405e-25 | t8_
2.1 | 91.7 | 2.3 | 97.6 | 3.74 | 143.15 | 3.84 | 144.83 | Coefficient T9: | -1.3966e-29 | t9_
2.55 | 103.1 | 3.07 | 117.24 | 4.68 | 168.18 | 4.68 | 170.4
2.8 | 108.3 | 3.84 | 144.76 | 9.35 | 309.9 | 9.35 | 315.04 | TOF channel | nsec
3.06 | 116.35 | 4.68 | 170.05 | 14.03 | 453.19 | 14.03 | 460.26 | 50 | 1.0599
3.84 | 143.24 | 9.35 | 315.65 | 18.7 | 598.06 | 18.7 | 607.24 | 100 | 4.8134
4.68 | 168.09 | 14.03 | 463.82 | 28.05 | 885.57 | 28.05 | 898.96 | 150 | 8.6997
9.35 | 311.72 | 18.7 | 611.75 | 37.4 | 1173.5 | 37.4 | 1191.1 | 200 | 12.6905
14.03 | 458.74 | 28.05 | 907.17 | 56.1 | 1748 | 56.1 | 1773.8 | 250 | 16.7621
18.7 | 604.35 | 37.4 | 1202.5 | 74.8 | 2322 | 74.8 | 2355.9 | 300 | 20.8954
28.05 | 896.14 | 56.1 | 1792 | 93.5 | 2898.1 | 93.5 | 2939.7 | 350 | 25.0744
37.4 | 1187.8 | 74.8 | 2380.8 | 102.9 | 3185.9 | 102.9 | 3231.2 | 400 | 29.2868
56.1 | 1769.6 | 93.5 | 2971.6 | 107.5 | 3329.3 | 107.5 | 3376.3 | 450 | 33.5224
74.8 | 2350.6 | 102.9 | 3266.4 | 112.2 | 3473.1 | 112.2 | 3521.8 | 500 | 37.7735
93.5 | 2932.9 | 107.5 | 3413.5 | 116.9 | 3616 | 116.9 | 3666.4 | 550 | 42.034
102.9 | 3224 | 112.2 | 3560.8 | 121.6 | 3759.3 | 121.6 | 3811.5 | 600 | 46.2995
107.5 | 3369.1 | 116.9 | 3707.2 |  |  |  |  | 650 | 50.5667
112.2 | 3514.5 | 121.6 | 3853.8 |  |  |  |  | 700 | 54.8334
116.9 | 3658.9 | [6 empty] | 750 | 59.098
121.6 | 3803.9 | [6 empty] | 800 | 63.3598
[8 empty] | 850 | 67.6183
[8 empty] | 900 | 71.8735
[8 empty] | 950 | 76.1256
[8 empty] | 1000 | 80.375
[8 empty] | 1050 | 84.6222
[8 empty] | 1100 | 88.8678
[8 empty] | 1150 | 93.1124
[8 empty] | 1200 | 97.3564
[8 empty] | 1250 | 101.6004
[8 empty] | 1300 | 105.8448
[8 empty] | 1350 | 110.0901
[8 empty] | 1400 | 114.3366
[8 empty] | 1450 | 118.5845
[8 empty] | 1500 | 122.834
[8 empty] | 1550 | 127.0853
[8 empty] | 1600 | 131.3384
[8 empty] | 1650 | 135.5934
[8 empty] | 1700 | 139.85
[8 empty] | 1750 | 144.1083
[8 empty] | 1800 | 148.3681
[8 empty] | 1850 | 152.6292
[8 empty] | 1900 | 156.8913
[8 empty] | 1950 | 161.1542
[8 empty] | 2000 | 165.4175
[8 empty] | 2050 | 169.6811
[8 empty] | 2100 | 173.9444
[8 empty] | 2150 | 178.2073
[8 empty] | 2200 | 182.4692
[8 empty] | 2250 | 186.7298
[8 empty] | 2300 | 190.9888
[8 empty] | 2350 | 195.2458
[8 empty] | 2400 | 199.5004
[8 empty] | 2450 | 203.7523
[8 empty] | 2500 | 208.0012
[8 empty] | 2550 | 212.2469
[8 empty] | 2600 | 216.4891
[8 empty] | 2650 | 220.7277
[8 empty] | 2700 | 224.9626
[8 empty] | 2750 | 229.1938
[8 empty] | 2800 | 233.4215
[8 empty] | 2850 | 237.6457
[8 empty] | 2900 | 241.8668
[8 empty] | 2950 | 246.0851
[8 empty] | 3000 | 250.3011
[8 empty] | 3050 | 254.5153
[8 empty] | 3100 | 258.7282
[8 empty] | 3150 | 262.9406
[8 empty] | 3200 | 267.153
[8 empty] | 3250 | 271.3658
[8 empty] | 3300 | 275.5795
[8 empty] | 3350 | 279.7942
[8 empty] | 3400 | 284.0096
[8 empty] | 3450 | 288.2252
[8 empty] | 3500 | 292.4396
[8 empty] | 3550 | 296.6506
[8 empty] | 3600 | 300.855
[8 empty] | 3650 | 305.0484
[8 empty] | 3700 | 309.2245
[8 empty] | 3750 | 313.3753
[8 empty] | 3800 | 317.4902
[8 empty] | 3850 | 321.5559
[8 empty] | 3900 | 325.5556
[8 empty] | 3950 | 329.4686
[8 empty] | 4000 | 333.2695
[8 empty] | 4050 | 336.9276